## المقايسة
قايمة بنود مقايسة تشطيب شقة — إتمام للتشطيبات والتوريدات
استخدمها عشان تقارن عروض الأسعار بند ببند. الكميات بتتحدد بعد المعاينة والقياس. واتساب: 01069262572
القسم | البند | المقايسة لازم تحدد إيه | الوحدة | الكمية | ملاحظات
تجهيز الموقع | تكسير وإزالة (في التجديد) | إيه اللي هيتشال بالظبط (بلاط، حوائط، نجارة، صحي)، ونقل الردم لبرّه الموقع ولا لأ | م² / مقطوعية
تجهيز الموقع | حماية العناصر اللي هتفضل | تغطية الأرضيات والأبواب والشبابيك اللي مش هتتغير وطريقة الحماية | مقطوعية
الكهربا (تأسيس) | نقاط الكهربا | عدد النقاط لكل أوضة: مفاتيح، برايز، إضاءة، تكييف، سخان — على رسم بالأماكن | نقطة
الكهربا (تأسيس) | الأسلاك والمواسير | مقاس السلك لكل دايرة (إضاءة / برايز / تكييف / سخان) ونوع المواسير والعلب | متر طولي / نقطة
الكهربا (تأسيس) | لوحة التوزيع | عدد الخطوط، القواطع لكل دايرة، قاطع التسريب الأرضي، ومكان اللوحة | عدد
الكهربا (تأسيس) | التيار الخفيف | نقاط النت والدش والتليفون والإنتركم والكاميرات إن وجدت | نقطة
السباكة (تأسيس) | تغذية مياه | نوع المواسير، تغذية سخنة وباردة لكل نقطة، المحابس الرئيسية والفرعية | نقطة
السباكة (تأسيس) | صرف | مقاسات مواسير الصرف، الميول، وأماكن الجاليتراب والسيفونات | نقطة / متر طولي
السباكة (تأسيس) | اختبار ضغط | اختبار ضغط المواسير قبل ما تتقفل، ومين بيشهد عليه | مقطوعية
العزل | عزل الحمامات والمطبخ | نوع العزل، الحوائط اللي هيطلع عليها لأي ارتفاع، واختبار الغمر بالمية قبل البلاط | م²
العزل | عزل السطح / الروف | نوع العزل والطبقات والحماية فوقه والميول لمخارج الصرف | م²
المحارة والأرضيات | محارة الحوائط والأسقف | نوع المحارة، البؤج والأوتار، واستلام الاستقامة والزوايا | م²
المحارة والأرضيات | محارة الأرضيات (اللياسة) | السُمك والمنسوب النهائي لكل أوضة قبل التشطيب | م²
الأرضيات | بورسلين / سيراميك | النوع والمقاس والدرجة، طريقة التركيب، اللاصق، عرض العراميس والوزرة | م²
الأرضيات | رخام / جرانيت | اسم الحجر، السُمك، التشطيب (لامع / مطفي)، التركيب، والجلي والتلميع | م²
الأرضيات | باركيه أو بدائل | النوع والسُمك والطبقة تحته والوزرة | م²
الحوائط | النقاشة | عدد سكينة المعجون، نوع الدهان وعدد الأوجه، والألوان لكل أوضة | م²
الحوائط | تجليد حوائط | الخامة (رخام / خشب / بانوهات) والمساحة والتثبيت | م²
الحوائط | بلاط الحمامات والمطبخ | النوع والمقاس والارتفاع والكرانيش | م²
الأسقف | جبس بورد | نوع الألواح (عادي / مقاوم رطوبة)، الهيكل، تصميم السقف وبيت النور | م² / م طولي
الأسقف | كرانيش وديكورات | المقاسات والأشكال والأماكن على الرسم | م طولي
الأبواب والشبابيك | أبواب داخلية | الخامة، المقاس، الحلق، الكوالين والمفصلات، والتشطيب | عدد
الأبواب والشبابيك | باب الشقة | النوع (مصفح / خشب)، الكالون، والتشطيب | عدد
الأبواب والشبابيك | شبابيك وأبواب ألوميتال | القطاع، نوع الزجاج (عادي / دبل)، الإكسسوارات، والسلك | م² / عدد
الأبواب والشبابيك | شيش / شتر | يدوي ولا موتور، الخامة واللون | م² / عدد
المطبخ | وحدات المطبخ | خامة الجسم والضلف، الإكسسوارات والمفصلات، والأدراج — على رسم | م طولي / مقطوعية
المطبخ | سطح المطبخ | الخامة (جرانيت / كوارتز / رخام)، السُمك، الحلوق، وفتحات الحوض والبوتاجاز | م طولي
الحمامات | الأدوات الصحية | قطعة قطعة: قاعدة، حوض، دش / بانيو، خلاطات — الموديل ونوع التركيب (معلق / أرضي) | عدد
الحمامات | وحدات الحمام والمرايات | الخامة والمقاس والإضاءة | عدد
التكييف | تأسيس التكييف | أماكن الوحدات، مواسير النحاس والعزل والصرف لكل جهاز | نقطة
الإضاءة والتشطيب النهائي | تركيب الإضاءة | عدد الكشافات والسبوتات والإضاءة المخفية — مين بيورّد ومين بيركّب | عدد / م طولي
الإضاءة والتشطيب النهائي | تركيب المفاتيح والبرايز | الموديل واللون | عدد
التسليم | التنضيف النهائي | تنضيف كامل قبل الاستلام | مقطوعية
التسليم | قايمة الملاحظات والاستلام | مراجعة مع العميل، تصحيح الملاحظات، وتسليم مكتوب | مقطوعية

## BOQ checklist
Finishing BOQ checklist — Itmam Finishing & Supply
Use it to compare quotations line by line. Quantities are set after a site visit and measurement. WhatsApp: +20 106 926 2572
Section | Item | What the quotation must specify | Unit | Quantity | Notes
Site preparation | Demolition (renovations) | Exactly what is removed (tiles, walls, joinery, sanitaryware) and whether debris leaves the site | m² / lump sum
Site preparation | Protecting what stays | How floors, doors and windows that are kept will be covered | lump sum
Electrical first fix | Electrical points | Points per room — switches, sockets, lighting, AC, water heater — marked on a plan | point
Electrical first fix | Cables and conduit | Cable size per circuit (lighting / sockets / AC / heater), conduit and box type | linear m / point
Electrical first fix | Distribution board | Number of ways, a breaker per circuit, earth-leakage protection, board position | each
Electrical first fix | Low current | Internet, TV, phone, intercom and camera points if any | point
Plumbing first fix | Water supply | Pipe type, hot and cold to every point, main and branch valves | point
Plumbing first fix | Drainage | Drain pipe sizes, falls, floor-drain and trap positions | point / linear m
Plumbing first fix | Pressure test | Pressure test before the pipes are closed in, and who witnesses it | lump sum
Waterproofing | Bathrooms and kitchen | System, which walls and to what height, and a water flood test before tiling | m²
Waterproofing | Roof | System, layers, protection on top, and falls to the outlets | m²
Plaster and screed | Wall and ceiling plaster | Plaster type, levelling dots and screeds, how straightness and corners are checked | m²
Plaster and screed | Floor screed | Thickness and finished level per room before flooring | m²
Floors | Porcelain / ceramic | Type, size and grade, laying method, adhesive, joint width and skirting | m²
Floors | Marble / granite | Stone name, thickness, finish (polished / honed), laying, grinding and polishing | m²
Floors | Parquet or alternatives | Type, thickness, underlay and skirting | m²
Walls | Paint | Number of skim coats, paint type and coats, colours per room | m²
Walls | Wall cladding | Material (stone / wood / panels), area and fixing method | m²
Walls | Bathroom and kitchen tiles | Type, size, height and trims | m²
Ceilings | Gypsum board | Board type (standard / moisture-resistant), frame, ceiling design and cove lighting | m² / linear m
Ceilings | Cornices and details | Sizes, profiles and positions on the drawing | linear m
Doors and windows | Internal doors | Material, size, frame, locks and hinges, finish | each
Doors and windows | Entrance door | Type (security / timber), lock and finish | each
Doors and windows | Aluminium windows and doors | Profile system, glass type (single / double), hardware and insect screens | m² / each
Doors and windows | Shutters | Manual or motorised, material and colour | m² / each
Kitchen | Kitchen units | Carcass and door material, hardware and hinges, drawers — to a drawing | linear m / lump sum
Kitchen | Worktop | Material (granite / quartz / marble), thickness, edges, sink and hob cut-outs | linear m
Bathrooms | Sanitaryware | Item by item: WC, basin, shower / bath, mixers — model and fixing (wall-hung / floor) | each
Bathrooms | Vanity units and mirrors | Material, size and lighting | each
Air conditioning | AC first fix | Unit positions, insulated copper pipes and condensate drain per unit | point
Lighting and final fix | Light fittings | Downlights, spots and hidden lighting — who supplies and who installs | each / linear m
Lighting and final fix | Switches and sockets | Model and colour | each
Handover | Final clean | A full clean before handover | lump sum
Handover | Snag list and handover | Walk-through with the client, snags fixed, written handover | lump sum